## Nasal NO Test Report
Nasal NO Test |  |  |  |  | Enter Lab Name
according to ERS TECHNICAL STANDARD (2023) |  |  |  |  | Address
PCD Screening |  |  |  |  | City
Patient
Patient ID: |  |  |  | Date: |  | 2023-05-25
Name: |  |  |  | Device model: |  | ANALYZER CLD 88
Date of Birth: |  |  |  | SPIROWARE Version: |  | 3.3.2
Age: |  | 123
Nasal NO Test
Ambient NO [ppb]:
Sample Flow [ml/min]:
Manoeuvre: |  | ER - Exhalation against resistance
|  | Trial 1 |  | Trial 2 |  | Intra-nostril Diff [%]
Right Nostril | [ppb] |  |  |  |  | #DIV/0!
Left Nostril | [ppb] |  |  |  |  | #DIV/0!
|  |  |  | Inter-nostril Diff [%]: |  | #DIV/0!
Results
|  |  | nasal NO [ppb] |  | NO output [nl/min] |  | Cutoff [nl/min]
Highest NO Value |  |  | 0 |  | 0 |  | 77
Corrected NO Value |  |  | 0 |  | 0 |  | 77
(Meas. NO - amb. NO)
Grade |  |  |  |  | #DIV/0!
Test Information
Comments:
Responsible:
Signature:
Reference: Beydon, N. et al. Nasal nitric oxide measurement in children for the diagnosis of primary ciliary dyskinesia: European Respiratory Society technical standard. European Respiratory Journal 61, (2023).
V06/23

## Info
Intra-nostril Diff [%] | Difference between two measurements as percentage of the maximum value
Example: "=ABS(C29-E29)/MAX(C29;E29)*100"
Inter-nostril Diff [%]: | Difference between the maximal nNO values from each side as percentage of the maximum value
Example: "=ABS((MAX(C29;E29)-MAX(C31;E31))/MAX(C29;E29;C31;E31)*100)"
Cutoff-Value [nl/min] | Manoeuvre | Age | Cutoff
| ER or BH: | all ages | 77 nl/min
| TB: | ≥ 2y | 44 nl/min
|  | ≥ 1y and < 2y | 30 nl/min
|  | < 1y | NA
"=WENN(C24="TB - Tidal breathing";WENN(C15<1;"NA";WENN(C15>2;44;30));77)"
Colour Coding of result |  | red if result <= cutoff
orange if result > cutoff and <= cutoff+10%
green if result > cutoff+10%
Grading | Manoeuvre | Inter-nostril | Intra-nostril | Grade
|  | repeatability | repeatability
| ER or BH | ≤ 10 % | ≤ 10 % | A
|  | > 10 % | > 10 % | B
| TB | ≤ 30 % | ≤ 20 % | D
|  | > 30 % | > 20 % | E

## Variables
Manoeuvre | SPW Version
ER - Exhalation against resistance | 3.1.6
BH - Breath-hold | 3.2.1
TB - Tidal breathing | 3.2.2
3.3.1
3.3.2